2025-2026

Student Name(s) : Yuang Wei

Project Title : Adaptive Control of Virtual Synchronous Generators Based on Reinforcement Learning – Towards Dynamic Power Grid Environments

Supervisor(s) : John Xu

Date of meeting : 14 Oct 2025	Length of meeting : 20 minutes

Progress made since the last meeting

• Project scope locked to a Stage 1 reproduction of Benhmidouch et al. 2024 (single-VSG TD3) followed by a planned PI-TD3 + ANDES extension. • Three-state swing-equation ODE drafted; gain K and filter time-constant tau_f identified for calibration against the published Simulink reference. • Initial literature pass on reinforcement-learning control of grid-forming inverters completed.

Items discussed / plan for the week

• Stand up the Python ODE environment and calibrate K and tau_f to match the paper's open-loop step response. • Draft the three-phase Simulink model interface for cross-platform validation. • Establish a written risk register: (R1) ODE-Simulink fidelity gap; (R2) TD3 training non-convergence; (R3) ANDES VSG-model construction effort.

Remarks (if any)

Lesson: pre-registering risks before training begins makes it easier to recognise their materialisation later.

Supervisor's signature: ____________________________

Student's signature(s): ____________________________   Date: 14 Oct 2025

2025-2026

Student Name(s) : Yuang Wei

Project Title : Adaptive Control of Virtual Synchronous Generators Based on Reinforcement Learning – Towards Dynamic Power Grid Environments

Supervisor(s) : John Xu

Date of meeting : 23 Feb 2026	Length of meeting : 30 minutes

Progress made since the last meeting

• Stage 1 closed successfully: TD3 controller achieved 39% frequency-deviation reduction versus the paper's reported 33%, cross-validated between Python and Simulink. • Reviewed the original PI-TD3 + ANDES extension against the remaining time budget; the extension's evaluation criterion would be novel and therefore non-comparable to any external benchmark. • Surveyed Yang 2023 (TPWRS) multi-agent SAC reproduction as a candidate Stage 2 target with documented benchmarks.

Items discussed / plan for the week

• Decision: pivot Stage 2 from PI-TD3 to a Yang 2023 multi-agent SAC reproduction. Rationale: known target metrics, established adaptive baseline, clearer pass/fail criterion under tight time budget. • Stand up the multi-agent SAC scaffold and select a backend (Simulink, ANDES, or pure ODE) for Stage 2. • Document the pivot and the abandoned PI-TD3 route in the risk register.

Remarks (if any)

Lesson: a novelty-positive plan with uncertain evaluability is higher-risk than a reproduction with documented benchmarks; risk-driven planning argues for the latter.

Supervisor's signature: ____________________________

Student's signature(s): ____________________________   Date: 23 Feb 2026

2025-2026

Student Name(s) : Yuang Wei

Project Title : Adaptive Control of Virtual Synchronous Generators Based on Reinforcement Learning – Towards Dynamic Power Grid Environments

Supervisor(s) : John Xu

Date of meeting : 23 Mar 2026	Length of meeting : 30 minutes

Progress made since the last meeting

• Multi-agent SAC scaffold operational on the Kundur four-bus testbed; ANDES selected as the active backend. • Audit of the headline DDIC-versus-adaptive comparison: the margin shrunk from 65% to 9% once the test set was made deterministic and shared across both controllers. • Three same-class evaluator defects identified at p_cf = 0 (parameter-sampling, episode-length, and seed-handling drift between trainer and evaluator).

Items discussed / plan for the week

• Add an evaluator-parity test as a new sub-system test category; require trainer and evaluator to produce identical episode rewards on a fixed seed. • Regenerate all numerical claims and results tables from post-fix runs only; mark any pre-fix figures as superseded. • Tighten the audit log so that each numeric claim in the report is traceable to a specific commit and run.

Remarks (if any)

Lesson: evaluator-trainer drift is the highest-yield place to monitor; a single deterministic-test re-run reshaped the headline finding.

Supervisor's signature: ____________________________

Student's signature(s): ____________________________   Date: 23 Mar 2026

2025-2026

Student Name(s) : Yuang Wei

Project Title : Adaptive Control of Virtual Synchronous Generators Based on Reinforcement Learning – Towards Dynamic Power Grid Environments

Supervisor(s) : John Xu

Date of meeting : 07 Apr 2026	Length of meeting : 45 minutes

Progress made since the last meeting

• Architectural ablation completed: shared-parameter SAC at matched n = 5 matches DDIC; the warmstart pilot does not improve the mean reward. • Bespoke six-axis evaluation framework, designed against Yang Figs. 6/7/8/9, returns an overall score of 0.036/1.0 across 21 trained checkpoints. • First-draft submission to Moodle in preparation (Tue 7 Apr, per FYP timetable).

Items discussed / plan for the week

• Decision: label the multi-agent framing architecturally redundant on the Kundur configuration; publish SPEC-8 as a documented FAIL with root-cause analysis and a four-phase recovery plan rather than rerun within the time budget. • Lock the per-spec validation table; draft the six-axis discussion and the recovery plan as Future Work. • Prepare slides and poster outline for Workshop 6 (Poster and Template, 30 Mar) and Workshop 7 (Oral Presentation Skills, 17 Apr).

Remarks (if any)

Lesson: a null result is a result; scope it carefully and report it honestly. A bespoke evaluation method that exposes a single-axis cherry-pick is itself a contribution.

Supervisor's signature: ____________________________

Student's signature(s): ____________________________   Date: 07 Apr 2026